## Slide 1: Head Impulse Testing: A Novel Test for Peripheral Vestibular Disorders
Kamran Barin, Ph.D.
Assistant Professor, Emeritus
Department of Otolaryngology
The Ohio State University

## Slide 2: Head Impulse Test – Overview
First described by Halmagyi and Curthoys (1988) as a bedside test of the vestibulo-ocular reflex (VOR)
Consists of monitoring eye movements as the patient fixates on a stationary target while the head is moved briskly to the right or left in the plane of lateral semicircular canals
The test can be performed in the planes of right anterior-left posterior or left anterior-right posterior canal pairs but is technically more challenging

## Slide 3: Head Impulse Test – Bedside Test Procedure
Examiner stands in front of the patient and holds his or her head
Patient is asked to look at a target straight ahead (examiner’s nose?)
The head is rotated right or left unexpectedly using small-amplitude high-velocity high-acceleration movements (head impulses)
Normal individuals can maintain a steady gaze but patients with deficient VOR cannot keep up with high-velocity head turns and generate “catch-up” saccades after head impulses toward the damaged side
From Curthoys et al. (2010)

## Slide 4: Head Impulse Test – Bedside Test Procedure
Look for catch-up saccades in the plane of paired semicircular canals
Right Lateral – Left Lateral
Right Anterior – Left Posterior
Right Posterior – Left Anterior

## Slide 5: Head Impulse Test – Limitations of Bedside Test
Early experience with bedside head impulse testing produced mixed results
  Results from caloric and head impulse tests did not always match
Limitations
  It is subjective – Must rely on the examiner’s skills to detect catch-up saccades
  The examiner has no feedback as to how well and how fast head impulses are delivered
A better understanding of the underlying mechanisms is needed to improve clinical usefulness of the test

## Slide 6: Head Impulse Test – Mechanism
There is an asymmetry between excitatory and inhibitory neural responses of each semicircular canal (greater dynamic range for excitation)
  Excitation from tonic level of ~100 up to a maximum of ~400 spikes/sec
  Inhibition from tonic level of ~100 down to a minimum of 0 spikes/sec

## Slide 7: Head Impulse Test – Normal Responses
For natural head movements, changes in the neural firing rates are proportional to head velocity
  Neural responses from right and left are symmetrical for slow head movements
  The signal to the oculomotor system is the difference between right and left neural responses
  VOR Gain = Eye Move./Head Move. ≈ 1

## Slide 8: Head Impulse Test – Normal Responses
For head impulses, inhibitory neural responses saturate quickly while the excitatory responses remain proportional to head velocity
  Despite the asymmetry between excitatory and inhibitory responses, the overall input to the oculomotor system as well as the resulting eye movements remain symmetrical for right-left head impulses
  Responses to head impulses are mediated primarily by one labyrinth!
  VOR Gain = Eye Move./Head Move. ≈ 1

## Slide 9: Head Impulse Test – Right Vestibular Lesion
For head impulses toward the side of lesion, the neural input to the oculomotor system is no longer proportional to head velocity
  The resulting eye velocity does not match head velocity and the eyes fall short of target
  VOR Gain = Eye Move./Head Move. << 1 (decreases with increasing head velocity)

## Slide 10: Head Impulse Test – Right Vestibular Lesion
For head impulses away from the side of lesion, the neural input to the oculomotor system is reduced but to a lesser extent
  The resulting eye velocity is closer but still does not match head velocity and the eyes fall somewhat short of target
  VOR Gain = Eye Move./Head Move. < 1 (decreases with increasing head velocity)

## Slide 11: Head Impulse Test – Catch-Up Saccades
Catch-up saccades reposition the eyes on the target
Catch-up saccades that occur after head impulses are called overt saccades
Overt saccades are visible and can be detected by an experienced examiner during the bedside test without any additional equipment
Catch-Up Saccade
Catch-Up Saccade
Overt Saccade
Overt Saccade

## Slide 12: Head Impulse Test – Catch-Up Saccades
Catch-up saccades that occur during head impulses are called covert saccades
Covert saccades are practically impossible to detect without specialized equipment
Covert saccades typically occur toward the end of head impulses because of the saccadic latency (time between initiation and onset of the saccade)
It is not clear why some patients generate covert saccades while others do not
  May be due to compensation levels, predictability of head impulses, or other yet unknown factors
Catch-Up Saccade
Catch-Up Saccade
Covert Saccade
Covert Saccade
T1 = Decision to initiate saccade
T2 = Onset of actual saccade
T2 – T1 = Saccadic latency ≈ 70-150 msec
T1
T2
T1
T2

## Slide 13: Head Impulse Test – Covert Saccades
Covert saccades may not reposition the eyes exactly on the target if the head impulses are unpredictable
In those cases, a secondary catch-up saccade, most likely an overt saccade, is needed to reach the target
  The secondary saccade will usually be smaller but will have the same intersaccadic latency as the primary covert saccade
  In the unlikely event of the primary covert saccade overshooting the target, the secondary catch-up saccade will be in the opposite direction
Covert Saccade
Covert Saccade
Primary
Covert Saccade
Secondary
Overt Saccade
Intersaccadic
Latency
Primary
Covert Saccade
Secondary
Overt Saccade

## Slide 14: Head Impulse Test – Catch-Up Saccades
Covert!

## Slide 15: Head Impulse Test – Objective Methods
Objective methods have been developed to identify covert saccades using the scleral search coil method, the gold standard for accurate measurement of high velocity eye movements (Weber et al, 2008)
Alternative methods based on analyzing video images from high-speed cameras have been introduced because routine clinical use of the search coil method is cumbersome

## Slide 16: Head Impulse Test – Validity of Video Method
Validity and clinical usefulness of head impulse testing using the video measurement method depends on:
  Accuracy of eye movement measurement methods
    Typical VOR-Mediated eye movements can exceed 100⁰/sec
    High-speed high-resolution cameras are needed to differentiate slow and fast eye movements
    The device must be compared with the search coil method
      In at least one case, video recordings have been validated by comparing the results to the search coil method (Curthoys et al, 2010)

## Slide 17: Head Impulse Test – Validity of Video Method
  Accuracy of head movement measurement methods
    Usually measured either through an apparatus worn by the patient or by tracking the movements of a fixed point on the head
    Design and the fit of the apparatus can greatly affect the accuracy
    Accuracy should be verified by comparing the results to measured values from a firmly affixed sensor such as one embedded in a bite-bar.

## Slide 18: Head Impulse Test – Validity of Video Method
  Examiner’s ability to deliver appropriate head impulses
    Examiner must be able to produce unpredictable head impulses that cover different head velocities
    Device should be able to detect and reject inappropriate head impulses
    Feedback to the examiner can improve performance
    Monitoring patient’s compliance with instructions can improve the test result

## Slide 19: Head Impulse Test – Criteria for Abnormality
Presence of catch-up saccades (overt and covert)
VOR gain (slow eye movement / head movement where head/eye movements can be based on position, velocity, or acceleration)
Gain asymmetry (difference between VOR gain for rightward and leftward head impulses)

## Slide 20: Head Impulse Test – Oculomotor and VOR Interaction
Head impulse responses for head velocities below 50⁰/sec are mediated entirely by the tracking (smooth pursuit) mechanism of the oculomotor system
Both oculomotor and VOR mechanisms contribute to head impulse responses for head velocities between 50-100⁰/sec (the ratio varies by age and other factors)
Head impulse responses for head velocities above 100⁰/sec are mediated entirely by the VOR

## Slide 21: Head Impulse Test – Normal
VOR gain in normal individuals is approximately 1
  Depends on whether the test is done in light or darkness
  If in light, the gain is usually higher when the fixation target is close

## Slide 22: Head Impulse Test – Normal

## Slide 23: Head Impulse Test – Unilateral Lesion
VOR gain is reduced for head impulses both toward and away from the side of lesion but it is more significant for head impulses toward the side of lesion
  VOR gains of higher than 1 have been reported during acute attacks of Meniere’s

## Slide 24: Head Impulse Test – Unilateral Lesion

## Slide 25: Head Impulse Test – Bilateral Lesion
Head impulse testing can be used in place of the rotation chair to assess patients with bilateral caloric weakness
  Provides an objective measure for the extent of loss

## Slide 26: Head Impulse Test – Bilateral Lesion

## Slide 27: Head Impulse Test – Spontaneous Nystagmus
Spontaneous nystagmus will appear as spikes in the eye velocity tracing
  Right-beating nystagmus produces spikes in the same direction as eye movements following left head impulses
  Left-beating nystagmus produces spikes in the same direction as eye movements following right head impulses
  Unlike catch-up saccades, spikes for spontaneous nystagmus can occur before or after head impulses
  For nystagmus that beats away from the side of lesion, spikes appear in the opposite direction of eye movements following head impulses toward the intact side

## Slide 28: Head Impulse Test – Spontaneous Nystagmus

## Slide 29: Head Impulse Test – Compared to Caloric Test
Caloric
  Independent assessment of right and left ears
  Relative measure of right vs. left ear
  Low-frequency
  Limited to lateral canals
  Not the natural mode of vestibular stimulation
  Time-consuming
Head Impulse
  Independent assessment of right and left ears
  Absolute responses of each ear!
  Broadband
  Can test vertical canals
  Natural vestibular stimulus
  Can be performed in few minutes
The results may not match because they are not the same test! (similar to audiogram in different frequencies)

## Slide 30: Head Impulse Test – Compared to Rotation Testing
Rotation chair
  Typically, chair velocities are not adequate to create VOR asymmetries
    Even for high velocity rotations, head accelerations are far below those generated during head impulses
  Is not as effective in independent assessment of each ear
  Requires large space
Active head rotation test
  Does not provide independent assessment of each ear
  May activate neck receptors thus providing results not directly mediated by VOR
  Head velocities are lower than those in head impulse testing (Della Santina et al. 2002)

## Slide 31: Head Impulse Test – Compared to VEMPs
Both tests provide independent assessment of each ear
Results from VEMPs and head impulse testing complement each other and provide a complete assessment of each vestibular system
  VEMPs provide assessment of otoliths
  Head impulse testing provides assessment of semicircular canals
  Combining the results from both tests may distinguish between labyrinthine and vestibular nerve lesions

## Slide 32: Identifying Site of Lesion
SITE | LAT HIT | VERT HIT | C VEMP | OVEMP
Healthy Subject | Normal | Normal | Normal | Normal
Lateral Canal | Abnormal for ipsilesional thrust | Normal | Normal | Normal
Anterior Canal | Normal | Abnormal to contralesional downward thrust | Normal | Normal
Posterior Canal | Normal | Abnormal to ipsilesional upward thrust | Normal | Normal
Utricle | Normal | Normal | Normal | Abnormal for contralesional eye muscle
Saccule | Normal | Normal | Abnormal for ipsilesional SCM muscle | Normal
Superior Vestibular Nerve | Abnormal for ipsilesional thrust | Abnormal to contralesional downward thrust | Normal | Abnormal for contralesional eye muscle
Inferior Vestibular Nerve | Normal | Abnormal to ipsilesional upward thrust | Abnormal for ipsilesional SCM muscle | Normal
Total Unilateral Vestibular Loss | Abnormal for ipsilesional thrust | Abnormal to contralesional downward and ipsilesional upward thrusts | Abnormal for ipsilesional SCM muscle | Abnormal for contralesional eye muscle

## Slide 33: Head Impulse Test – Clinical Usefulness
A simple test of VOR that can be performed quickly to independently assess all three semicircular canals in each ear over a wide range of head velocities
In case of acute vertigo, can differentiate between cerebellar strokes and peripheral vestibular lesions (Newman-Toker et al., 2008)
Can be used for serial testing such as in monitoring vestibulotoxicity
Can be modified for testing children
More widespread clinical studies are needed to verify and validate the objective methods of head impulse testing

## Slide 34: Acknowledgement
Parts of this presentation are based on the work of Halmagyi, Curthoys, and their associates. See www.headimpulse.com for a complete list of references.